## Individual Pricing
Site | Site Representative | Site Representative Contact Info | (CTS) Customer Service Address (Section D1) | (CTS) Requested Bandwidth (Section D2) | (CTS) Node Site (Section D3) | (CTS) Terminating Port Type (Section D4) | (CTS) E-Rate Eligible (Section D5) | (CTS) SWO Length (Section D6) | (CTS) Order New or Upgrade (Section D7) | (CTS) Total number of VLANs required (Section D8) | (Vendor) Mandatory (Section D9) | (Vendor) Mandatory (Section D10) | (Vendor) Mandatory (Section D11) | (Vendor) Mandatory (Section D12) | (CTS) Modified NRC (Section D13) | (Vendor) Mandatory (Section D14) | (Vendor) Mandatory (Section D15) | (CTS) Modified DMARC (Section D16) | (Vendor) Mandatory (Section D17) | (CTS) Aggregation Trunk Charges (Section D18) | (Vendor) Mandatory (Section D19) | (Vendor) Mandatory (Section D20) | (Vendor) Mandatory (Section D21) | (CTS) Modified TLA Costs (Section D22) | (Vendor) Mandatory (Section D23) | (CTS) Modified Other (Section D24) | (Vendor) Mandatory (Section D25) | (CTS) Special Requirements (Section D26)
Customer Site name | Site Representative | Site Representative Contact Info | Site Address | 10 or 100 megabit circuit? | Terminating Node Site | Service Termination at customer site(Handoff): Fiber or Copper | E-Rate (y or n) | Supplemental Work Order Term (no. of months) | Circuit Order (New Or Upgrade) | Total number of VLANs | MRC Cost | MRC ApplicableTaxes | NRC Cost | NRC ApplicableTaxes |  | VLAN Charge | DMARC Cost |  | Size of Trunk- 1 or 10 gigabit (Node Site end) and Trunk Identifier |  | Existing Circuit End Date XX/XX/XXXX | Existing Circuit TLA (Cost) $XXX.XX | Waive TLA Cost (Y/N) |  | Other Charges |  | Proposed Service Delivery to customer site: Fiber or Ethernet over Copper | Any non-standard requirements | Total
CENCOM911 | Terece Bryan | (360) 337-4413 | 911 Carver Street, Bremerton, WA 98312-4300 | 10mb | Olympia | Copper | n | 12 | New | 1 | 900 | 78.3 | 12416 | 1080.192 |  | 0 | 0 |  | 10 Gig - ELKGED775336INTGNNI |  | na | na | na |  | 0 |  | fiber | Copper Handoff Required. Vendor switch must be within 10 Feet of customer router. Vendor must provide 4 hour UPS backup for their equipment. Vendor must provide 72 hours advanced notice for access to site. Please reference attached site map for location of customer equipment room 123E.
CENCOM911 | Terece Bryan | (360) 337-4413 | 911 Carver Street, Bremerton, WA 98312-4300 | 10mb | Olympia | Copper | n | 24 | New | 1 | 639 | 55.593 | 0 | 0 |  | 0 | 0 |  | 10 Gig - ELKGED775336INTGNNI |  | na | na | na |  | 0 |  | fiber | Copper Handoff Required. Vendor switch must be within 10 Feet of customer router. Vendor must provide 4 hour UPS backup for their equipment. Vendor must provide 72 hours advanced notice for access to site. Please reference attached site map for location of customer equipment room 123E.
CENCOM911 | Terece Bryan | (360) 337-4413 | 911 Carver Street, Bremerton, WA 98312-4300 | 10mb | Olympia | Copper | n | 36 | New | 1 | 639 | 55.593 | 0 | 0 |  | 0 | 0 |  | 10 Gig - ELKGED775336INTGNNI |  | na | na | na |  | 0 |  | fiber | Copper Handoff Required. Vendor switch must be within 10 Feet of customer router. Vendor must provide 4 hour UPS backup for their equipment. Vendor must provide 72 hours advanced notice for access to site. Please reference attached site map for location of customer equipment room 123E.
DFISEA | Patrick McKee | (360) 902-8728 | 2033 6TH AVE., SUITE 1030. SEATTLE, WA 98121-2559 | 100mb | Olympia | Copper | n | 12 | New | 1 | 1275 | 122.4 | 0 | 0 |  | 0 | 0 |  | 10 Gig - ELKGED775336INTGNNI |  | na | na | na |  | 0 |  | fiber | Copper Handoff Required. Vendor switch must be within 10 Feet of customer router. Vendor must provide 4 hour UPS backup for their equipment. Vendor must provide 72 hours advanced notice for access to site. Please reference attached site map for location of customer equipment room (#102 Break)
DFISEA | Patrick McKee | (360) 902-8728 | 2033 6TH AVE., SUITE 1030. SEATTLE, WA 98121-2559 | 100mb | Olympia | Copper | n | 24 | New | 1 | 1050 | 100.8 | 0 | 0 |  | 0 | 0 |  | 10 Gig - ELKGED775336INTGNNI |  | na | na | na |  | 0 |  | fiber | Copper Handoff Required. Vendor switch must be within 10 Feet of customer router. Vendor must provide 4 hour UPS backup for their equipment. Vendor must provide 72 hours advanced notice for access to site. Please reference attached site map for location of customer equipment room (#102 Break)
DFISEA | Patrick McKee | (360) 902-8728 | 2033 6TH AVE., SUITE 1030. SEATTLE, WA 98121-2559 | 100mb | Olympia | Copper | n | 36 | New | 1 | 890 | 85.44 | 0 | 0 |  | 0 | 0 |  | 10 Gig - ELKGED775336INTGNNI |  | na | na | na |  | 0 |  | fiber | Copper Handoff Required. Vendor switch must be within 10 Feet of customer router. Vendor must provide 4 hour UPS backup for their equipment. Vendor must provide 72 hours advanced notice for access to site. Please reference attached site map for location of customer equipment room (#102 Break)
DOLC3120 | Jo Dwyer | (425) 774-6657 | 550 5th Ave S, Edmonds WA 98020-3403 | 10mb | Olympia | Copper | n | 24 | New | 1 | 893 | 87.514 | 0 | 0 |  | 0 | 0 |  | 10 Gig - ELKGED775336INTGNNI |  | na | na | na |  | 0 |  | fiber | This site is currently under contract for a 10 Meg point to point connection until March 2017 -Vendor will extend DEMARC to within 10 Ft of router per attached map and LCON.
DOLBL2 | Michael Banyas | (360) 664-4910 | 421 Black Lake Blvd SW, Olympia WA 98502-5046 | 1000mb (1Gb) | Olympia | Fiber | n | 12 | New | 1 | 2857 | 251.416 | 0 | 0 |  | 0 | 0 |  | 10 Gig - ELKGED775336INTGNNI |  | na | na | na |  | 0 |  | fiber | Vendor to extend DEMARC to location indicated in attached site map per LCON - vendor must contact LCON at least 3 days prior to needed access. Vendor will deliver handoff as Single mode fiber.
DOLBL2 | Michael Banyas | (360) 664-4910 | 421 Black Lake Blvd SW, Olympia WA 98502-5046 | 1000mb (1Gb) | Olympia | Fiber | n | 24 | New | 1 | 2000 | 176 | 0 | 0 |  | 0 | 0 |  | 10 Gig - ELKGED775336INTGNNI |  | na | na | na |  | 0 |  | fiber | Vendor to extend DEMARC to location indicated in attached site map per LCON - vendor must contact LCON at least 3 days prior to needed access. Vendor will deliver handoff as Single mode fiber.
DOLBL2 | Michael Banyas | (360) 664-4910 | 421 Black Lake Blvd SW, Olympia WA 98502-5046 | 1000mb (1Gb) | Olympia | Fiber | n | 36 | New | 1 | 1800 | 158.4 | 0 | 0 |  | 0 | 0 |  | 10 Gig - ELKGED775336INTGNNI |  | na | na | na |  | 0 |  | fiber | Vendor to extend DEMARC to location indicated in attached site map per LCON - vendor must contact LCON at least 3 days prior to needed access. Vendor will deliver handoff as Single mode fiber.
DOLBL2 | Michael Banyas | (360) 664-4910 | 421 Black Lake Blvd SW, Olympia WA 98502-5046 | 100mb | Olympia | Fiber | n | 12 | New | 1 | 1343 | 118.184 | 0 | 0 |  | 0 | 0 |  | 10 Gig - ELKGED775336INTGNNI |  | na | na | na |  | 0 |  | fiber | Vendor to extend DEMARC to location indicated in attached site map per LCON - vendor must contact LCON at least 3 days prior to needed access. Vendor will deliver handoff as Single mode fiber.
DOLBL2 | Michael Banyas | (360) 664-4910 | 421 Black Lake Blvd SW, Olympia WA 98502-5046 | 100mb | Olympia | Fiber | n | 24 | New | 1 | 1275 | 112.2 | 0 | 0 |  | 0 | 0 |  | 10 Gig - ELKGED775336INTGNNI |  | na | na | na |  | 0 |  | fiber | Vendor to extend DEMARC to location indicated in attached site map per LCON - vendor must contact LCON at least 3 days prior to needed access. Vendor will deliver handoff as Single mode fiber.
DOLBL2 | Michael Banyas | (360) 664-4910 | 421 Black Lake Blvd SW, Olympia WA 98502-5046 | 100mb | Olympia | Fiber | n | 36 | New | 1 | 1140 | 100.32 | 0 | 0 |  | 0 | 0 |  | 10 Gig - ELKGED775336INTGNNI |  | na | na | na |  | 0 |  | fiber | Vendor to extend DEMARC to location indicated in attached site map per LCON - vendor must contact LCON at least 3 days prior to needed access. Vendor will deliver handoff as Single mode fiber.
DSHS4025 | Raymond Williams | (360) 391-6012 | 101 S King St, Seattle, WA 98104-3115 | 100mb | Olympia | Copper | n | 12 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | ***This is an order request for 100M secondary/backup circuit at this site. Since this is a backup, this circuit must be delivered on a diverse path and provided by a different vendor than the existing 100M vendor (CenturyLink).*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: LAN Room, refer to LCON for instructions. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS4025 | Raymond Williams | (360) 391-6012 | 101 S King St, Seattle, WA 98104-3115 | 100mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No bid | No Bid | No bid |  | No Bid | No bid |  | No Bid |  | No Bid | No bid | No bid |  | No bid |  | No bid | ***This is an order request for 100M secondary/backup circuit at this site. Since this is a backup, this circuit must be delivered on a diverse path and provided by a different vendor than the existing 100M vendor (CenturyLink).*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: LAN Room, refer to LCON for instructions. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DOLC2117 | Cindy Rothwell | (360) 864-6800 | Better Weigh Mfg., 168 Foster Creek Road, Toledo, WA 98591-9406 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Vendor switch must be within 10ft of the customer router. Demarc extend requested and to be extended per attached site map. Vendor and/or their contractors must contact the site contact at least 3 days prior to needed site access.
DOLC0803 | Amy Tabor | (360) 225-9939 | Lewis River Auto Licensing Inc., 1935 Belmont Loop, Ste C, Woodland, WA 98674-8520 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Vendor switch must be within 10ft of the customer router. Demarc extend requested and to be extended per attached site map. Vendor and/or their contractors must contact the site contact at least 3 days prior to needed site access.
DOLC3302 | Kevin Schalock | (509) 935-8552 | Kevin Schalock Agency, 101 N Park St, Chewelah, WA 99109 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No bid | No Bid | No bid |  | No Bid | No bid |  | No Bid |  | No Bid | No bid | No bid |  | No bid |  | No bid | THIS SITE IS UNDER CURRENT CONTRACT until September 2018 but is moving from 113 N Park, Chewelah, WA- Vendor switch must be within 10ft of the customer router. Demarc extend requested and to be extended per attached site map. Vendor and/or their contractors must contact the site contact at least 3 days prior to needed site access.
DOLC2723 | Jean or Mike | (253) 212-1954 | Tacoma License and Title, 6718 W 19th St, University Place, WA 98466-5527 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | Np Bid | No Bid | Np Bid |  | No Bid | Np Bid |  | No Bid |  | No Bid | Np Bid | Np Bid |  | Np Bid |  | Np Bid | Vendor switch must be within 10ft of the customer router. Demarc extend requested and to be extended per attached site map. Vendor and/or their contractors must contact the site contact at least 3 days prior to needed site access.

## Grouped Pricing (hidden)
(CTS) Customer Service Address (Section D1) | (CTS) Requested Bandwidth (Section D2) | (CTS) Terminating Node Site (Section D3) | (CTS) Service Termination (Section D4) | (CTS) E-Rate Eligible (Section D5) | (CTS) Supplemental Work Order Term (Section D6) | (Vendor) Mandatory (Section D7) | (Vendor) Mandatory (Section D8) | (Vendor) Mandatory (Section D9) | (Vendor) Mandatory (Section D10) | (CTS) (Section D11) | (Vendor) Mandatory (Section D12) | (Vendor) Mandatory (Section D13) | (CTS) (Section D14) | (Vendor) Mandatory (Section D15) | (CTS) (Section D16) | (Vendor) Mandatory (Section D17) | (CTS) (Section D18) | (Vendor) Mandatory (Section D19)
Site Address | 10 or 100 megabit circuit? | Terminating Node Site | Service Termination at customer site(Handoff): Fiber or Copper | E-Rate (y or n) | Supplemental Work Order Term (no. of months) | MRC Cost | MRC ApplicableTaxes | NRC Cost | NRC ApplicableTaxes | Modified NRC | VLAN Charge (if applicable) | DMARC Cost (if applicable) | Modified DMARC | Size of Trunk- 1 or 10 gigabit (Node Site end) | Aggregation Trunk Charges | Other Charges (if applicable) | Modified Other | Proposed Service Delivery to customer site: Fiber or Ethernet over Copper